## HVAC Equipment Overview
Category/ Manufacturer | Model | Serial # | Location | Year in Service | Age | ASHRAE Life Expectancy | Remaining Life | Expected Replacement Year | Replacement Cost | Qty. | Total Replacement Cost | Notes
RTU (Roof-top Unit)
Carrier |  |  | 2004 Addition | 2005 | 21 | 15 | -6 | 2020 |  | 1 |  | Gym
Carrier |  |  | 2004 Addition | 2005 | 21 | 15 | -6 | 2020 |  | 1 |  | 2004 Classrooms
Carrier |  |  | 2016 Addition | 2016 | 10 | 15 | 5 | 2031 |  | 1 |  | 2016 Classrooms
Carrier |  |  | Cafeteria | 2020 | 6 | 15 | 9 | 2035 |  | 1 |  | Cafeteria
Condensing Unit (Non-RTU AC)
Trane |  |  | LS | 2016 | 10 | 20 | 10 | 2036 |  | 1 |  | LS Pod, Music and Lobby
Boilers
Thermal Solutions |  |  | 2004 Addition | 2004 | 22 | 30 | 8 | 2034
P-K |  |  | LS | 1999 | 27 | 30 | 3 | 2029
Weil-McLain |  |  | LS | 2017 | 9 | 30 | 21 | 2047
Lochinvar |  |  | 2016 Addition | 2016 | 10 | 30 | 20 | 2046
Furnaces
20
Unit Heaters
Trane |  |  | LS Science | 1999 | 27 | 30 | 3 | 2029
PTAC Units (Packaged Terminal Air Conditioner)
LG |  |  | Pre-K, K Office | 2012 | 14 | 15 | 1 | 2027 | 1100 | 5 | 5500
Radiant Heaters
Marley |  |  | Admin Offices | 2016 | 10 | 10 | 0 | 2026
Marley |  |  | 120A, 120C | 2016 | 10 | 10 | 0 | 2026
VAV Boxes (Variable Air Volume)
Carrier |  |  | 2004 Addition | 2004 | 22 | 20 | -2 | 2024 |  | 18
Johnson? |  |  | 2016 Addition | 2016 | 10 | 20 | 10 | 2036 |  | 21
Ventilation Fans
20
Coils, DX and Hot Water
15
Coils, Electric | [9 empty] | 1
15
Circulating Pumps
10
Condensate Pumps
Little Giant/Hartell |  |  | 120D, 222C | 2016 | 10 | 15 | 5 | 2031 | 100 | 2 | 200
" " |  |  | 202, 208, 214 | 1999 | 27 | 15 | -12 | 2014 | 100 | 3 | 300
Controls | [5 empty] | 15
Water Heaters | [5 empty] | 15
Formulas:
Age = YEAR(TODAY())-[Year in Service]
Expected Replacement Year = YEAR(TODAY())+[Remaining Life]

## RTUs & ERVs
| Location | Manufacturer | Model # | Serial # | BTUs | Tons Cooling | Rooms served | Year | Age | AHRAE Life | Remaining Life | EOL Year | Replacement Cost 2020 | Replacement Cost Today
RTUs | Outside Cafeteria | Carrier | 48TCEE20B2A5A6U0J0 | 2919P22240 | 310000 | 17.5 | Cafeteria | 2020 | 6 | 15 | 9 | 2035 | 45000 | 50677.3089
| Roof 2005 Addition | Carrier | 50AY-840-F-511EQ | 2405F16773 | N/A | 40 | 2004 Addition | 2005 | 21 | 15 | 0 | 2020 | 90000 | 101354.6177
| Roof 2005 Addition | Carrier | 48HGF028-FC-5112P | 2905G10022 | 400000 | 25 | GYM | 2005 | 21 | 15 | 0 | 2020 | 60000 | 67569.7452
| Roof 2016 Addition | Carrier | 48A3T640AR-52AHP | 2516U47618 | 800000 | 40 | 2016 Addition | 2016 | 10 | 15 | 5 | 2031 | 90000 | 101354.6177
ERVs | Outside Cafeteria | Renew Aire | HE3X5T | H194051C |  |  | Cafeteria | 2020 | 6 | 15 | 9 | 2035 | 16000 | 18018.5987
| Roof 2005 Addition | Micro Metl | ERVC-6068-H23QP9 |  |  |  | 2005 Addition | 2005 | 21 | 15 | 0 | 2020 | 20000 | 22523.2484
| Roof 2005 Addition | Micro Metl | ERVC-5060-H23Q09 |  |  |  | GYM | 2005 | 21 | 15 | 0 | 2020 | 20000 | 22523.2484
| Outside K Hallway | Lossnay | HE 2X900RT | HD04169 |  |  | K, 129, 131 | 2001 | 25 | 15 | 0 | 2016 | 10000 | 11261.6242
Formulas:
Age = (YEAR(TODAY())-[Year])
Replacement Cost Today = (FV(0.02,(YEAR(TODAY())-2020),0,-[Replacement Cost 2020]))

## Furnaces-Fan Coils-Air Handlers
Location | Manufacturer | Model # | Serial # | Type of unit | Rooms served | Condensate pump | Condensing Unit | Coil type(s) | Year | Age | ASHRAE Life | Remaining | EOL Year | 2020 Replacement Cost | Replacement Cost Today
120D | Carrier | 59SC2C080S211120 | 0616A60817 | FA Furnace | 120A,B&C, 118 | Yes | 1E | DX | 2016 | 10 | 18 | 8 | 2034 | 6000 | 6756.9745
127 | Trane | TWE036C140B0 | R346P111V | Fan Coil | 129, 131 | No | 15W | Water | 2000 | 26 | 20 | 0 | 2020 | 6000 | 6756.9745
127 | Trane | TWE036C140B0 | R305T2Y1V | Fan Coil | 125 | No | 14W | Electric | 2000 | 26 | 20 | 0 | 2020 | 6000 | 6756.9745
112C | Trane | TUX040C924C0 | N314RE17G | FA Furnace | 112 | No | 3E | N/A | 1998 | 28 | 18 | 0 | 2016 | 6000 | 6756.9745
108B | Trane | TWE036C140B0 | Z105LB82V | Fan Coil | 106, 108 | No | 4E | Water | 2001 | 25 | 20 | 0 | 2021 | 6000 | 6756.9745
108B | Trane | TWE036C140B0 | Z105L2B1V | Fan Coil | 110 | No | 5E | Water | 2001 | 25 | 20 | 0 | 2021 | 6000 | 6756.9745
105A | Trane | TWE036C140B0 | Z105L2E1V | Fan Coil | 103 | No | 12W | Water | 2001 | 25 | 20 | 0 | 2021 | 6000 | 6756.9745
101C | Trane | TUX060C936C2 | R303P0P7G | FA Furnace | 101 | No | 9W | N/A | 2000 | 26 | 18 | 0 | 2018 | 6000 | 6756.9745
228B | Trane | TUX100C960C0 | N353J687G | FA Furnace | 232 | No | 17W | N/A | 1998 | 28 | 18 | 0 | 2016 | 6000 | 6756.9745
228A | Trane | TUX100C960C0 | N353KCE7G | FA Furnace | 226 | No | 16W | N/A | 1998 | 28 | 18 | 0 | 2016 | 6000 | 6756.9745
222C | Carrier | 59SC2C060S171116 | 0316A61342 | FA Furnace | 222A&B, 220A&B, 218A&B, 216 | Yes | 2E | DX | 2016 | 10 | 18 | 8 | 2034 | 6000 | 6756.9745
214 | Trane | TUX060C936C0 | N3230997G | FA Furnace | 212 | Yes | 13W | N/A | 1998 | 28 | 18 | 0 | 2016 | 6000 | 6756.9745
208 | Trane | TUX060C936C0 | N353T3E7G | FA Furnace | 210 | Yes-Shared | 11W | N/A | 1998 | 28 | 18 | 0 | 2016 | 6000 | 6756.9745
208 | Trane | TUX060C936C0 | N332LRJ7G | FA Furnace | 206 | Yes-Shared | 10W | N/A | 1998 | 28 | 18 | 0 | 2016 | 6000 | 6756.9745
202 | Trane | TUX060C936C0 | N332LS77G | FA Furnace | 204 | Yes-Shared | 7W | N/A | 1998 | 28 | 18 | 0 | 2016 | 6000 | 6756.9745
202 | Trane | TUX060C936C0 | N326JCW7G | FA Furnace | 200 | Yes-Shared | 8W | N/A | 1998 | 28 | 18 | 0 | 2016 | 6000 | 6756.9745
119 | Trane | CSAA35UAL00 | K16E40625 | AHU | LS Lobby, Pod & Music | No | Outside Maintenance | DX(X1),Water (X4) | 2016 | 10 | 20 | 10 | 2036 | 75000 | 84462.1814
102 | Trane | VUVC1251BA0FACBY1AA11CG100001310 | W00J47445 | Unit Ventilator | 102 | No | 6E | N/A | 1999 | 27 | 20 | 0 | 2019 | 7000 | 7883.1369
Formulas:
Age = (YEAR(TODAY())-[Year])

## Condensing Units
Location | Manufacturer | Model # | Serial # | Rooms served | Year | Age | AHRAE Life | Remaining Life | EOL Year | 2020 Replacement Cost | Replacement Cost Today
1E | Carrier | 24ABB342A500 | 1616E28109 | 120A,B&C, 118 | 2016 | 10 | 15 | 5 | 2031 | 5000 | 5630.8121
2E | Carrier | 24ABB324A310 | 1716E10398 | 222A&B, 220A&B, 218A&B, 216 | 2016 | 10 | 15 | 5 | 2031 | 5000 | 5630.8121
3E | Trane | TTP024C100A3 | N304LBGff | 112 | 1998 | 28 | 15 | 0 | 2013 | 5000 | 5630.8121
4E | Trane | TTB036C100A2 | R4626BTBF | 106, 108 | 2000 | 26 | 15 | 0 | 2015 | 5000 | 5630.8121
5E | Trane | TTB036C100A2 | R4626B8BF | 110 | 2000 | 26 | 15 | 0 | 2015 | 5000 | 5630.8121
6E | Trane | TTB030C100A2 | R372N2XBF | 102 | 2000 | 26 | 15 | 0 | 2015 | 5000 | 5630.8121
7W | Trane | TTP024C100A3 | M1218HTFF | 204 | 1997 | 29 | 15 | 0 | 2012 | 5000 | 5630.8121
8W | Trane | TTP024C100A3 | N2445JHFF | 200 | 1998 | 28 | 15 | 0 | 2013 | 5000 | 5630.8121
9W | Trane | TTB036C100A1 | P501285BF | 101 | 1999 | 27 | 15 | 0 | 2014 | 5000 | 5630.8121
10W | Trane | TTP024C100A3 | N264L59FF | 206 | 1998 | 28 | 15 | 0 | 2013 | 5000 | 5630.8121
11W | Trane | TTP024C100A3 | N264NEHFF | 210 | 1998 | 28 | 15 | 0 | 2013 | 5000 | 5630.8121
12W | Trane | TTB036C100A1 | P433KA6BF | 103 | 1999 | 27 | 15 | 0 | 2014 | 5000 | 5630.8121
13W | Trane | TTP024C100A3 | N264MFHFF | 212 | 1998 | 28 | 15 | 0 | 2013 | 5000 | 5630.8121
14W | Trane | TTB036C100A1 | P5013UXBF | 125 | 1999 | 27 | 15 | 0 | 2014 | 5000 | 5630.8121
15W | Trane | TTB036C100A1 | P5013RXBF | 129, 131 | 1999 | 27 | 15 | 0 | 2014 | 5000 | 5630.8121
16W | Trane | TTA042C300A1 | N293MHJBF | 226 | 1998 | 28 | 15 | 0 | 2013 | 5000 | 5630.8121
17W | Trane | TTA042C300A1 | N293MFKBF | 232 | 1998 | 28 | 15 | 0 | 2013 | 5000 | 5630.8121
Outside Maintenance | Trane | RAUJC50ECC10ABDF00020S | C16E03378 | ls Lobby, Pod & Music | 2016 | 10 | 15 | 5 | 2031 | 60000 | 67569.7452
Formulas:
Age = (YEAR(TODAY())-[Year])

## Boilers
Location | Manufacturer | Model # | Serial # | BTUs | Rooms served | Year | Age | AHRAE Life | Remaining Life | EOL Year | 2020 Replacement Cost | Replacement Cost Today
114 | Weil-McLain | EVG 399 | CP7486228 | 333000 | LS Pod, Music & Lobby; 102, 103, 106, 108, 110, 112, 129, 131 | 2016 | 10 | 25 | 15 | 2041 | 30000 | 33784.8726
114 | Patterson-Kelley | N-1700-2 | CK-17-99-10596 | 1700000 | LS Pod, Music & Lobby; 102, 103, 106, 108, 110, 112, 129, 131 | 1999 | 27 | 35 | 8 | 2034 | 50000 | 56308.121
20 | Thermal Solutions | EVA0750BN1-UABM | 64801493 | 750000 | 2005 Addition | 2005 | 21 | 25 | 4 | 2030 | 40000 | 45046.4968
248 | Lochinvar | KBN400 | 1606102439591 | 324000 | 2016 Addition | 2016 | 10 | 25 | 15 | 2041 | 30000 | 33784.8726
Formulas:
Age = ((YEAR(TODAY())-[Year]))

## Circulating Pumps
Location | Manufacturer | Model # | Serial # | Rooms served | Year | Age | AHRAE Life | Remaining Life | EOL Year | 2020 Replacement Cost | Replacement Cost Today
114 | Grundfos | UP-26-99-BF | N/A | LS DHW Recirc. | 2012 | 14 | 15 | 1 | 2027 | 1500 | 1689.2436
114 | Taco | 0013-F3 | N/A | Weil-McLain boiler | 2016 | 10 | 15 | 5 | 2031 | 1500 | 1689.2436
114 (#1) | Bell & Gossett | 172760LF | F14K270046 | LS Boilers Distribution | 2016 | 10 | 15 | 5 | 2031 | 5000 | 5630.8121
114 (#2) | Bell & Gossett | 172760LF | L15K70019 | LS Boilers Distribution | 2016 | 10 | 15 | 5 | 2031 | 5000 | 5630.8121
20 | Bell & Gossett | NBF-12F/LW | 103260 L40 | 2005, 2016 DHW Recirc. | 2005 | 21 | 15 | 0 | 2020 | 1500 | 1689.2436
20 | Taco | 121A3E1 4.3 | N/A | Thermal Solutions Boiler | 2005 | 21 | 15 | 0 | 2020 | 3000 | 3378.4873
20 | Taco | 1635C3E2 5.9 | N/A | 2005 Boiler Distribution | 2005 | 21 | 15 | 0 | 2020 | 4000 | 4504.6497
20 | Taco | 1635C3E2 5.9 | N/A | 2005 Boiler Distribution | 2005 | 21 | 15 | 0 | 2020 | 4000 | 4504.6497
248 | Taco | 0013-F3 | N/A | Lochnivar Boiler | 2016 | 10 | 15 | 5 | 2031 | 1500 | 1689.2436
248-#1 | Taco | 1915 E 1 E 1 | N/A | 2016 Boiler Distribution | 2016 | 10 | 15 | 5 | 2031 | 5000 | 5630.8121
248-#2 | Taco | 1915 E 1 E 1 |  | 2016 Boiler Distribution | 2016 | 10 | 15 | 5 | 2031 | 5000 | 5630.8121
Formulas:
Age = ((YEAR(TODAY())-[Year]))

## Water Heaters & Softeners
| Location | Manufacturer | Model # | Serial # | Rooms served | Year | Age | AHRAE Life | Remaining Life | EOL Year | 2020 Replacement Cost | Replacement Cost Today
Heaters | 114 | A.O Smith (#3) | BTH-250-100 | 1231M000120 | LS | 2012 | 14 | 15 | 1 | 2027 | 13000 | 14640.1115
| 20 | A.O Smith (#1) | 9280842000 | MB040006136 | 2005, 2016 | 2005 | 21 | 15 | 0 | 2020 | 13000 | 14640.1115
| 20 | A.O Smith (#2) | BTH-150 300 | 1934116088530 | 2005, 2016 | 2019 | 7 | 15 | 8 | 2034 | 13000 | 14640.1115
Softeners | 114 | Hellenbrand | Pro Mate 6.0 | HB099034 | LS | 2019 | 7 | 15 | 8 | 2034 | 5000 | 5630.8121
| 20 | Water Right | IMLC-1665B-03-00-00-00-00 | 054258 | 2005, 2016 | 2004 | 22 | 15 | 0 | 2019 | 7000 | 7883.1369
Formulas:
Age = ((YEAR(TODAY())-[Year]))

## Outdated Equipment
Unit Type | Location | Manufacturer | Model # | Serial # | Rooms served | Year | Age | AHRAE Life | Remaining Life | EOL Year | 2020 Replacement Cost | Replacement Cost Today | Condensate pump | Condensing Unit | Coil type(s)
RTU | Roof 2005 Addition | Carrier | 50AY-840-F-511EQ | 2405F16773 | 2005 Addition | 2005 | 21 | 15 | 0 | 2020 | 90000 | 101354.6177
RTU | Roof 2005 Addition | Carrier | 48HGF028-FC-5112P | 2905G10022 | GYM | 2005 | 21 | 15 | 0 | 2020 | 60000 | 67569.7452
Fan Coil | 127 | Trane | TWE036C140B0 | R346P111V | 129, 131 | 2000 | 26 | 20 | 0 | 2020 | 6000 | 6756.9745 | No | 15W | Water
Fan Coil | 127 | Trane | TWE036C140B0 | R305T2Y1V | 125 | 2000 | 26 | 20 | 0 | 2020 | 6000 | 6756.9745 | No | 14W | Electric
FA Furnace | 112C | Trane | TUX040C924C0 | N314RE17G | 112 | 1998 | 28 | 18 | 0 | 2016 | 6000 | 6756.9745 | No | 3E | N/A
Fan Coil | 108B | Trane | TWE036C140B0 | Z105LB82V | 106, 108 | 2001 | 25 | 20 | 0 | 2021 | 6000 | 6756.9745 | No | 4E | Water
Fan Coil | 108B | Trane | TWE036C140B0 | Z105L2B1V | 110 | 2001 | 25 | 20 | 0 | 2021 | 6000 | 6756.9745 | No | 5E | Water
Fan Coil | 105A | Trane | TWE036C140B0 | Z105L2E1V | 103 | 2001 | 25 | 20 | 0 | 2021 | 6000 | 6756.9745 | No | 12W | Water
FA Furnace | 101C | Trane | TUX060C936C2 | R303P0P7G | 101 | 2000 | 26 | 18 | 0 | 2018 | 6000 | 6756.9745 | No | 9W | N/A
FA Furnace | 228B | Trane | TUX100C960C0 | N353J687G | 232 | 1998 | 28 | 18 | 0 | 2016 | 6000 | 6756.9745 | No | 17W | N/A
FA Furnace | 228A | Trane | TUX100C960C0 | N353KCE7G | 226 | 1998 | 28 | 18 | 0 | 2016 | 6000 | 6756.9745 | No | 16W | N/A
AC Condensing Unit | 3E | Trane | TTP024C100A3 | N304LBGff | 112 | 1998 | 28 | 15 | 0 | 2013 | 5000 | 5630.8121
AC Condensing Unit | 4E | Trane | TTB036C100A2 | R4626BTBF | 106, 108 | 2000 | 26 | 15 | 0 | 2015 | 5000 | 5630.8121
AC Condensing Unit | 5E | Trane | TTB036C100A2 | R4626B8BF | 110 | 2000 | 26 | 15 | 0 | 2015 | 5000 | 5630.8121
AC Condensing Unit | 6E | Trane | TTB030C100A2 | R372N2XBF | 102 | 2000 | 26 | 15 | 0 | 2015 | 5000 | 5630.8121
AC Condensing Unit | 7W | Trane | TTP024C100A3 | M1218HTFF | 204 | 1997 | 29 | 15 | 0 | 2012 | 5000 | 5630.8121
AC Condensing Unit | 8W | Trane | TTP024C100A3 | N2445JHFF | 200 | 1998 | 28 | 15 | 0 | 2013 | 5000 | 5630.8121
AC Condensing Unit | 9W | Trane | TTB036C100A1 | P501285BF | 101 | 1999 | 27 | 15 | 0 | 2014 | 5000 | 5630.8121
AC Condensing Unit | 10W | Trane | TTP024C100A3 | N264L59FF | 206 | 1998 | 28 | 15 | 0 | 2013 | 5000 | 5630.8121
AC Condensing Unit | 11W | Trane | TTP024C100A3 | N264NEHFF | 210 | 1998 | 28 | 15 | 0 | 2013 | 5000 | 5630.8121
AC Condensing Unit | 12W | Trane | TTB036C100A1 | P433KA6BF | 103 | 1999 | 27 | 15 | 0 | 2014 | 5000 | 5630.8121
AC Condensing Unit | 13W | Trane | TTP024C100A3 | N264MFHFF | 212 | 1998 | 28 | 15 | 0 | 2013 | 5000 | 5630.8121
AC Condensing Unit | 14W | Trane | TTB036C100A1 | P5013UXBF | 125 | 1999 | 27 | 15 | 0 | 2014 | 5000 | 5630.8121
AC Condensing Unit | 15W | Trane | TTB036C100A1 | P5013RXBF | 129, 131 | 1999 | 27 | 15 | 0 | 2014 | 5000 | 5630.8121
AC Condensing Unit | 16W | Trane | TTA042C300A1 | N293MHJBF | 226 | 1998 | 28 | 15 | 0 | 2013 | 5000 | 5630.8121
AC Condensing Unit | 17W | Trane | TTA042C300A1 | N293MFKBF | 232 | 1998 | 28 | 15 | 0 | 2013 | 5000 | 5630.8121
Circulating Pumps | 20 | Bell & Gossett | NBF-12F/LW | 103260 L40 | 2005, 2016 DHW Recirc. | 2005 | 21 | 15 | 0 | 2020 | 1500 | 1689.2436
Circulating Pumps | 20 | Taco | 121A3E1 4.3 | N/A | Thermal Solutions Boiler | 2005 | 21 | 15 | 0 | 2020 | 3000 | 3378.4873
Circulating Pumps | 20 | Taco | 1635C3E2 5.9 | N/A | 2005 Boiler Distribution | 2005 | 21 | 15 | 0 | 2020 | 4000 | 4504.6497
Circulating Pumps | 20 | Taco | 1635C3E2 5.9 | N/A | 2005 Boiler Distribution | 2005 | 21 | 15 | 0 | 2020 | 4000 | 4504.6497
Water Heater #1 | 20 | A.O Smith (#1) | 9280842000 | MB040006136 | 2005, 2016 | 2005 | 21 | 15 | 0 | 2020 | 13000 | 14640.1115
Water Softner | 20 | Water Right | IMLC-1665B-03-00-00-00-00 | 054258 | 2005, 2016 | 2005 | 21 | 15 | 0 | 2020 | 7000 | 7883.1369
Exhaust Fan | Roof 2005 Addition | Carnes | VBEK |  | 2005 | 2005 | 21 | 15 | 0 | 2020 | 5000 | 5630.8121
Exhaust Fan | Roof 2005 Addition | Carnes | VBEK |  | 2005 | 2005 | 21 | 15 | 0 | 2020 | 5000 | 5630.8121
[11 empty] | 321500 | 362061.2178
Formulas:
Age = (YEAR(TODAY())-[Year])
Age = ((YEAR(TODAY())-[Year]))

## Calcs Sheet
Year Calculation | 6 |  | 6 | 2% | 2020 cost | Qty
Inflation | 0.02 |  |  |  | 2000 | 5
Yrs in Future | 7
Current Cost Replacement |  | 10120.6016
Replacement Cost
Replacement Cost 7 years in future |  | 11625.39 |  |  |  | years in future
Replacement Cost @ EOL |  | 12835.3699
Remaining Life
12